RotateInstrumentComponent
MoveInstrumentComponent
adjustComponent()
SCDCalibratePanels2Test
Overview
Get an empty workspace
with CORELLI geometry
Using generateSimulatedWorkspace()
Prep: filename, prescribed movement values
Move the instrument with
certain value via adjustComponent()
Populate peaks using adjusted
instrument geometry via
generateSimulatedPeaksWorkspace()
Reset the instrument geometry to
engineering position
Run the calibration via runCalibration()
Validate calibration results via
validateCalibrationResults()
test_X()
CreateSimulationWorkspace
SetUB
setCrystalStructure(Si)
generateSimulatedWorkspace()
runCalibration()
SCDCalibratePanels2
SetGoniometer
PredictPeaks
ω=(0,180,3)
CombinePeaksWorkspaces
generateSimulatedPeaksWorkspace()
LoadParameterFile
ws_calibrated
ws_reference
compareComponent()
validateCalibrationResults()